## Heating
in-situ Stress Measurment
[5 empty] | User Instruction | Automatic Field | User Input field
Substrate Details |  |  |  | Sample Details | Automatic Field
Wafer No | Material | Youngs Modulus | Poisson's Ratio | Biaxial Modulus | Sample Name | Initial radius | Film Thickness | Wafer Thickness
G.Pa
| Glass | 72 | 0.22 | 92.3077 | S3 | 144.48 | 9830 | 0.7
Temperature | Radius | Effective Radius | Stress | Stress | Stress | Stress | Comment
|  | m | G.Pa | M.Pa | Pa | dyne
13 | 61.28 | 106.4151 | 0.072065 | 72.0653 | 72065274.0073 | 720652740.0731
21 | 62.684 | 110.7216 | 0.069262 | 69.2623 | 69262288.4838 | 692622884.8377
30 | 60.857 | 105.1459 | 0.072935 | 72.9351 | 72935115.8132 | 729351158.1323
40 | 54.173 | 86.6701 | 0.088483 | 88.483 | 88483033.0613 | 884830330.6128
50 | 48.455 | 72.9058 | 0.10519 | 105.1882 | 105188240.465 | 1051882404.6495
60 | 45.731 | 66.9092 | 0.11462 | 114.6155 | 114615533.6285 | 1146155336.2846
70 | 43.549 | 62.3392 | 0.12302 | 123.0178 | 123017773.3229 | 1230177733.2291
80 | 41.677 | 58.5731 | 0.13093 | 130.9275 | 130927480.6306 | 1309274806.3058
90 | 40.18 | 55.6587 | 0.13778 | 137.7831 | 137783067.2666 | 1377830672.6665
100 | 38.73 | 52.9145 | 0.14493 | 144.9287 | 144928684.9869 | 1449286849.8691
110 | 37.558 | 50.7508 | 0.15111 | 151.1075 | 151107523.7529 | 1511075237.5289
120 | 36.436 | 48.7234 | 0.1574 | 157.3952 | 157395181.7537 | 1573951817.5366
130 | 35.508 | 47.0781 | 0.1629 | 162.8959 | 162895911.1048 | 1628959111.0478
140 | 34.511 | 45.3414 | 0.16914 | 169.1353 | 169135279.2159 | 1691352792.1585
150 | 33.524 | 43.6529 | 0.17568 | 175.6776 | 175677617.2911 | 1756776172.9111
160 | 32.677 | 42.2276 | 0.18161 | 181.6071 | 181607069.9474 | 1816070699.4735
170 | 31.768 | 40.7218 | 0.18832 | 188.3223 | 188322302.1823 | 1883223021.8229
180 | 30.816 | 39.1707 | 0.19578 | 195.7799 | 195779918.1323 | 1957799181.3228
190 | 30.04 | 37.9254 | 0.20221 | 202.2085 | 202208493.3987 | 2022084933.9872
200 | 29.182 | 36.568 | 0.20971 | 209.7144 | 209714371.5854 | 2097143715.8544
210 | 28.49 | 35.4878 | 0.2161 | 216.0974 | 216097414.9902 | 2160974149.9022
220 | 27.713 | 34.2903 | 0.22364 | 223.6444 | 223644412.9632 | 2236444129.6325
231 | 26.964 | 33.1509 | 0.23133 | 231.3312 | 231331170.158 | 2313311701.5799
240 | 26.436 | 32.3564 | 0.23701 | 237.0116 | 237011624.4081 | 2370116244.0813
251 | 25.792 | 31.3968 | 0.24425 | 244.2549 | 244254888.3261 | 2442548883.2615
261 | 25.269 | 30.6252 | 0.25041 | 250.4089 | 250408892.9594 | 2504088929.594
270 | 24.716 | 29.8167 | 0.2572 | 257.1992 | 257199179.4002 | 2571991794.002
281 | 24.509 | 29.516 | 0.25982 | 259.8197 | 259819749.4466 | 2598197494.4662
291 | 24.05 | 28.8528 | 0.26579 | 265.7915 | 265791493.9511 | 2657914939.5107
301 | 23.829 | 28.5353 | 0.26875 | 268.7488 | 268748829.3466 | 2687488293.4658
311 | 23.26 | 27.7232 | 0.27662 | 276.6216 | 276621569.9871 | 2766215699.8714
321 | 22.987 | 27.3362 | 0.28054 | 280.5372 | 280537183.7505 | 2805371837.5046
331 | 22.692 | 26.9201 | 0.28487 | 284.8743 | 284874250.9455 | 2848742509.4553
341 | 22.415 | 26.5311 | 0.28905 | 289.0506 | 289050606.4158 | 2890506064.1584
351 | 22.176 | 26.1969 | 0.29274 | 292.7379 | 292737878.2024 | 2927378782.024
361 | 21.883 | 25.789 | 0.29737 | 297.3682 | 297368152.8542 | 2973681528.542
370 | 21.53 | 25.3002 | 0.30311 | 303.114 | 303113986.1386 | 3031139861.3856
381 | 21.242 | 24.9034 | 0.30794 | 307.9433 | 307943264.722 | 3079432647.2201
391 | 21.109 | 24.7208 | 0.31022 | 310.2179 | 310217931.4865 | 3102179314.8654
401 | 21.006 | 24.5796 | 0.312 | 311.9993 | 311999306.7168 | 3119993067.1676
411 | 20.822 | 24.3281 | 0.31523 | 315.2254 | 315225431.9741 | 3152254319.7412
421 | 20.775 | 24.264 | 0.31606 | 316.0587 | 316058659.4623 | 3160586594.623
431 | 20.267 | 23.5738 | 0.32531 | 325.3112 | 325311230.2818 | 3253112302.8181
441 | 20.199 | 23.4819 | 0.32659 | 326.5851 | 326585081.7195 | 3265850817.1953
451 | 20 | 23.2134 | 0.33036 | 330.3627 | 330362737.8008 | 3303627378.0081
460 | 19.969 | 23.1716 | 0.33096 | 330.958 | 330957994.9043 | 3309579949.0429
459 | 19.816 | 22.9659 | 0.33392 | 333.9232 | 333923156.2217 | 3339231562.2169
449 | 19.441 | 22.4637 | 0.34139 | 341.3881 | 341388088.6249 | 3413880886.2491
439 | 20.338 | 23.6699 | 0.32399 | 323.9903 | 323990269.7439 | 3239902697.4393
430 | 21.057 | 24.6495 | 0.31112 | 311.1151 | 311115088.367 | 3111150883.67
420 | 21.556 | 25.3361 | 0.30268 | 302.6844 | 302684360.3436 | 3026843603.4357
410 | 22.918 | 27.2387 | 0.28154 | 281.5416 | 281541612.8479 | 2815416128.4794
399 | 23.49 | 28.0505 | 0.27339 | 273.3933 | 273393341.1371 | 2733933411.3707
389 | 24.134 | 28.9738 | 0.26468 | 264.6816 | 264681644.4209 | 2646816444.2095
380 | 24.876 | 30.0499 | 0.2552 | 255.2035 | 255203501.4748 | 2552035014.7482
369 | 25.657 | 31.197 | 0.24582 | 245.8194 | 245819375.762 | 2458193757.6196
359 | 25.949 | 31.6298 | 0.24246 | 242.4559 | 242455921.264 | 2424559212.6396
350 | 26.909 | 33.0678 | 0.23191 | 231.9125 | 231912483.1347 | 2319124831.3474
340 | 27.505 | 33.9724 | 0.22574 | 225.7371 | 225737066.5853 | 2257370665.8529
330 | 28.063 | 34.8278 | 0.22019 | 220.1931 | 220193137.5952 | 2201931375.9519
319 | 28.857 | 36.0591 | 0.21267 | 212.6741 | 212674062.3271 | 2126740623.2706
310 | 29.268 | 36.7031 | 0.20894 | 208.9422 | 208942189.7925 | 2089421897.9248
300 | 30.312 | 38.3599 | 0.19992 | 199.9177 | 199917712.311 | 1999177123.1105
289 | 30.781 | 39.1141 | 0.19606 | 196.0629 | 196062886.741 | 1960628867.4105
280 | 31.741 | 40.6775 | 0.18853 | 188.5276 | 188527646.4059 | 1885276464.0592
270 | 32.835 | 42.4918 | 0.18048 | 180.4778 | 180477775.7574 | 1804777757.574
260 | 33.641 | 43.8515 | 0.17488 | 174.882 | 174882025.4178 | 1748820254.1779
250 | 34.632 | 45.5505 | 0.16836 | 168.3589 | 168358890.0626 | 1683588900.6256
240 | 35.445 | 46.9674 | 0.16328 | 163.2798 | 163279784.9855 | 1632797849.8546
230 | 36.553 | 48.9329 | 0.15672 | 156.7215 | 156721489.82 | 1567214898.1996
220 | 37.819 | 51.2286 | 0.1497 | 149.6984 | 149698373.7881 | 1496983737.8811
210 | 39.029 | 53.4742 | 0.14341 | 143.4118 | 143411755.2224 | 1434117552.2239
200 | 40.425 | 56.13 | 0.13663 | 136.6263 | 136626328.3981 | 1366263283.9808
190 | 42.199 | 59.6094 | 0.12865 | 128.6513 | 128651329.4771 | 1286513294.7709
180 | 43.791 | 62.8363 | 0.12204 | 122.0446 | 122044619.4354 | 1220446194.354
170 | 45.814 | 67.087 | 0.11431 | 114.3117 | 114311726.2003 | 1143117262.0031
160 | 47.836 | 71.5134 | 0.10724 | 107.2362 | 107236223.7109 | 1072362237.1086
150 | 50.205 | 76.9411 | 0.099672 | 99.6715 | 99671511.0277 | 996715110.277
140 | 52.888 | 83.4271 | 0.091923 | 91.9225 | 91922509.2119 | 919225092.1192
130 | 56.071 | 91.6325 | 0.083691 | 83.6912 | 83691171.9111 | 836911719.1115
120 | 60.174 | 103.1236 | 0.074365 | 74.3654 | 74365426.8438 | 743654268.4376
110 | 63.506 | 113.3123 | 0.067679 | 67.6787 | 67678746.573 | 676787465.7301
100 | 67.729 | 127.4965 | 0.060149 | 60.1493 | 60149337.9942 | 601493379.9416
90 | 72.444 | 145.2983 | 0.05278 | 52.7799 | 52779909.363 | 527799093.6297
80 | 78.449 | 171.6514 | 0.044677 | 44.6768 | 44676787.2551 | 446767872.5509
70 | 85.565 | 209.835 | 0.036547 | 36.547 | 36546955.1207 | 365469551.2066
60 | 93.666 | 266.3216 | 0.028795 | 28.7954 | 28795384.4839 | 287953844.8388
50 | 104.31 | 375.1732 | 0.020441 | 20.4408 | 20440775.0526 | 204407750.5259
40 | 117.54 | 630.3704 | 0.012166 | 12.1656 | 12165595.6485 | 121655956.485
30 | 139.71 | 4231.7192 | 0.0018122 | 1.8122 | 1812226.0085 | 18122260.085
20 | 176.33 | -799.8794 | -0.0095875 | -9.5875 | -9587485.094 | -95874850.9397

## Individual
Stree Measurment Calculator
[7 empty] | User Instruction | colour code
Substrate Details | Substrate Details | [5 empty] | Automatic Field |  | User Input field
Material |  | Youngs Modulus | Poisson's Ratio | Biaxial Modulus
|  | G.Pa |  |  |  |  | Stress > 0 | Tensile Stess
Silicon <100> |  | 130 | 0.279 | 180.3051 |  |  | Stress <0 | Compressive Stress
Wafer Number | Sample Name | Wafer Thickness | Film Thickness | Initial Radius | Final Radius | Effective Radius | Stress | Stress | Stress | Stress
|  | m | Å | m | m | m | G.Pa | M.Pa | Pa | dyne
[6 empty] | 0 | 0 | 0 | 0 | 0
| S1 | 0.515 | 9580 | 551.17 | -70.87 | -62.7957 | -0.13249 | -132.4879 | -132487863.0091 | -1324878630.091
| S2 | 0.515 | 9480 | 638 | 186.09 | 262.7192 | 0.032002 | 32.0016 | 32001563.3394 | 320015633.3935
| S3 | 0.515 | 9830 | 681.46 | 36.275 | 38.3145 | 0.21162 | 211.6188 | 211618800.9386 | 2116188009.3859
| S4 | 0.515 | 10160 | 414.24 | 37.14 | 40.7979 | 0.19228 | 192.2827 | 192282689.1362 | 1922826891.3623
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0